| Global Template – Method Statement of Work – 2025.1 Hover over field numbers or refer to Field Definitions for description of fields |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: (1) | Equipment Tag: (2) |  |  |  |  |  | CMMS WO #: (3) |  |  |
| Contractor’s Name: (4) |  | Author’s Name: (5) (Contractor’s Point of Contact (POC) | POC Phone Number: (6) |  |  |  |  |  | POC E-mail: (7) |
| Project Name: (8) |  |  |  |  |  |  |  |  |  |
| Site Address: (9) |  |  |  |  |  |  |  |  |  |
| Description of the Task/Activity: (10) |  |  |  |  |  |  |  |  |  |
| Site Supervisor: (11) |  |  |  |  |  | Tel: Email: (12) |  |  |  |
| Safety Officer: (13) |  |  |  |  |  | Tel: Email: (14) |  |  |  |
| Specific Location of Work on Site: (15) (Include specific equipment, room numbers, and area identifiers from drawings) |  |  |  |  | Specific Supporting Documentation References: (16) (Ex: Specific O&M and Industry manuals) |  |  |  |  |

Task Information (to be completed by Service Supplier). Estimated Task Start Date/Time: (17); Estimated Task Finish Date/Time: (18); Estimated Duration: (19) (in hours). Personnel Involved: (20) (* Add extra lines for personnel if required) (**Personnel rows can be left blank if there is no name to be inserted); Name:; Role/Trade:; Email:; Tel:. Calibrated Tools and Equipment: (21) (Enter Calibration and Expiration Dates); (If applicable). Required Equipment, Tools, and Materials: (22) (Attach Certification). Temporary Supports and Props needed to facilitate the work: (23) (Ex: Access platform, scaffold). Lockout Tagout (LOTO) Required?: ☐ Yes ☐ No Equipment/Systems Requiring Isolation and/or LOTO: (24). Specific Staff Training: (25) (Industry certifications/equipment operator license or training).

| Sequence of Operations S: (26) (Refer to figures in (27) below if pictures or drawing are needed to help clarify steps.) |  |  |
| --- | --- | --- |
| STEP # | STEP DESCRIPTION | INITIALS |
|  | *Begin typing detailed procedure steps here. |  |
|  | *Add new lines as needed; hover the mouse cursor over the line intersection at the left of the table. When a plus sign (+) appears, click the plus sign to add another numbered line to the section. |  |
|  | *Type over or delete steps with asterisks (*). |  |
|  | * |  |
| 4.1 | *Use multilevel formatting for sub-steps. |  |
| 4.2 | * |  |
|  | * |  |
|  | * |  |
|  | * |  |
|  | * |  |
| General Comments/Notes: (For recording findings during procedure execution and/or resolutions of work.) |  |  |
| Figures/Drawings/Photos: (27) Place photos or drawings below (add extra lines for more figures if required) |  |  |
| Figure 1 Description below: |  |  |
| Figure 2 Description below: |  |  |
| Figure 3 Description below: |  |  |
| Figure 4 Description below: |  |  |
| Figure 5 Description below: |  |  |
| Figure 6 Description below: |  |  |

| Required Safety and Controls |  |  |  |
| --- | --- | --- | --- |
| Method of Access and Egress to the work area: (1) (i.e., Ladder /Mobile Elevated Work Platform/Scaffold/Trestle/Step Ladder, etc.) |  |  |  |
| Fall Protection Measures: (2) Where work at height cannot be eliminated – consider both Personnel & Materials. (i.e., Guard Rails/Toe Boards/Brick Guards/Safety Harnesses/Exclusion Zones, etc.) |  |  |  |
| Required PPE (3) List all PPE required for the performance of the scope as identified in the Risk Assessment/JHA |  |  |  |
| Hazardous Substances: (4) List and attach Safety Data Sheet (if required) | Name of Hazardous Substance | Use | MSDS/SDS Provided |
| Storage Arrangements: (5) |  |  |  |
| Details of Permits to Work: (6) | Name of Permit; Description of Task. |

| Emergency Procedures: (7) | In an emergency event, MS Emergency Procedures shall be followed. |  |
| --- | --- | --- |
|  | Accident Reporting Protocol |  |
|  | All accidents/incidents/near misses, however small, must be reported immediately to the Security Operations Center (SOC) and to CE Team management via the Facilities Operations Center (FOC). This will facilitate accident investigation and ensure preservation of evidence. The QHSE Manager will then be advised of all accidents and incidents. - Security Operations Center Number – - Facility Operations Center – A copy of the Contractor’s Investigation Report on all accidents and incidents shall be provided to the CE Management and MS Safety Management Teams upon completion (as soon as possible). |  |
| First Aid Facilities: | Name of On-Site First Aider: (8) |  |
|  | First Aid Box Location: (9) |  |
|  | Location of Nearest Hospital: (10) |  |
| Welfare Requirements (11) |  |  |
| Services to be supplied by Others (12) |  |  |
| Other information and Comments (13) |  |  |

NOTE: All work will be undertaken by qualified persons with experience of the type of work described above, and in all cases in full accordance with safety procedures specified in the company’s Health and Safety Policy along with any additional measures imposed by Site Management.

Method Statement Daily Briefing Record (Prior to Job Execution)

Briefing delivered by: (14)

Position: (15)

Date: (16)

We (the undersigned) have read and understood the attached MSOW and Risk Assessments and will comply with the specified requirements and control measures.  If the work activity changes or deviates from that originally envisaged, we will seek further advice and request an amended MSOW. (17)

| Name (Print) | Signature | Date |
| --- | --- | --- |

Risk Assessment / Job Hazard Analysis

| Date: (1) |  | Assessed by: (2) | Checked by: (3) |
| --- | --- | --- | --- |
| Location where activities are taking place: (4) |  |  |  |
| Describe activities being performed (Task): (5) |  |  |  |
| Describe the Equipment and/or Substances being used: (6) |  |  |  |

| Hazard (7) *Hover over the line intersection at the bottom left corner of table and click “+” to add more lines | Persons at Risk (8) | Existing Risk Control Measures in place (9) | Risk Rating (10) *Refer here to fill out Likelihood (L) and Severity (S) (L X S = R) |  |  | Further Control Measures Required (11) | Residual Risk Rating (12) *Refer here to fill out Likelihood (L) and Severity (S) (L X S = RR) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | L | S | R |  | L | S | RR |

| Examples: Common Hazards and risks | Examples: Common Mitigation Techniques |
| --- | --- |
| Electrical Shock anything >50VAC/DC. | -LOTO with live-dead-live verification -Rubber insulated gloves |
| Arc Flash anything greater than 1.2cal/cm2 -Unknown valves should be referenced to the NFPA 70E for correct arc flash categories based on the scenario. | -LOTO with live-dead-live verification -Appropriate arc flash gear according to the most up to date NFPA 70E -Proper breaker operation with minimum load on the breaker |
| Confined space | -Only to be performed by trained and qualified personnel. -Proper documentation and confined space practices |
| Rotating machinery | -LOTO to remove hazard -Proper guards are in place |
| Moving of heavy objects | -Proper lifting techniques -Securing the load before moving it |
| Working from heights >4 Feet -Performing work requiring a harness -Performing work with an aerial lift -Performing work on a ladder | -Harness inspection -Aerial lift pre-use inspection -Ladder inspection and proper use techniques |

Field Definitions

Notes and Directions to Accompany MSOW

Section 1:

- Date: Filled in at time of check in with FOC prior to starting work to indicate what the date of execution for this specific MSOW is.

- Equipment Tag: Filled in at time of check in with FOC prior to starting work to indicate the exact piece of equipment being serviced by the MSOW.

- CMMS WO: Filled in at time of check in with FOC prior to starting work to indicate any associated CMMS WOs with the MSOW work scope.

- Contractor Name: Insert the Name of Contractor performing the work.

- Author’s Name: Insert the Name of the Person drafting the MSOW. It may also be the Contractor’s point of contact.

- POC Phone Number: Insert contact details of the Contractor’s point of contact (POC).

- POC Email: Insert email of the Contractor’s point of contact.

- Project Name:  Insert the Project Name, usually begins with project building number, e.g., CYS03-x.

- Site Address: The physical site address.

- Description of the Task/Activity: Insert a brief description of the work (tasks) to be done.

- Site Supervisor: Insert the Site Supervisor’s name.

- Tel. & Email: Insert Supervisor’s contact details.

- Safety Officer: Insert the Safety Officer’s name.

- Tel. & Email: Insert Safety Officer’s contact details.

- Specific Location: Insert the exact location of the work (tasks) on site.

- Specific Supporting Documentation: Documentation such as O&Ms, task related drawings, and specifications, and applicable governance.  Include the information to assist in locating the reference of documentation, such as page numbers and reference indicators. (No physical copy required).

- Estimated Task Start Date/Time: Insert the expected start date and time of the work.

- Estimated Task Finish Date/Time: Insert the expected finish date and time of the work.

- Estimated Duration: This will be an estimate of the time it will take to complete the work in hours.

- Personnel Involved: Insert the names, roles and contact details of the persons carrying out the work. For planning purposes, the maximum ratio of contractor workers to escort is 10:1, assuming that the task or tasks are in the same building and area within the building.  If the 10 individuals are broken up into multiple teams, they must be within visual distance of the escort.  Once appropriate contractor barriers/zones are completed and approved by DC Operations, the 10:1 ratio requirement is lifted. The 10:1 escort restraint mentioned above does not apply to supervisory individuals such as the safety personnel.

- Calibrated Tools & Equipment: List the calibrated tools and equipment along with calibration and expiration dates.

- Required Equioment, Tools, and Materials: List the plant and tools, materials, and any other essential equipment required for the work.

- Temporary Supports and Props: Detail any temporary measures and props that is required to facilitate the work.

- Equipment/Systems Requiring Isolation and/or LOTO: Any equipment and or system needing to be de-energized for safety aspect of task operation. Including disabling any fire detection or suppression systems.

- Specific Staff Training: List the training required for the work inckuding industry standard certifications or equipment operator license/ training.

- Sequence of Operations: Detail the exact scope of work that will be covered. Any deviations from the stated scope in this section will need to be reviewed and approved by site CE management  prior to executing the deviation.

  - Steps must be technically accurate, functional, understandable to CE technicians and management, and in logical flow from start to finish where applicable

  - All acronyms need to be spelled out the first time used.

  - The author must not assume the reviewers will be familiar with the contractor’s drawings and/or specifications. Where needed, these should be included in the step or work package.

  - Steps must explain how the DC work center rules specific to the task are being followed (e.g. number of tiles removed at a time, HEPA vacuum usage, and that wood and cardboard are not allowed in production area).

  - Include the applicable areas that controlled access zones are set for safety considerations.

  - Include the necessary steps to perform an ‘As-Found’ inspection at the beginning and an ‘As-Left’ inspection at task completion.

  - Steps must clearly identify routings/surroundings of cables, conduit, etc. to be worked on inside a production environment (such as working above or around any production equipment).

  - General terms such as verify, resolve, validate, tighten, and confirm should be avoided.

    - Steps should provide clarity as to the expectations, including measurable indications.

  - Steps must be written:

    - For task completion within one shift (exceptions may be requested and reviewed on a case by case basis).

    - To limit the work area of each major task to one at a time (i.e. IDF, COLO, Elec, Room number, or grid coordinates; without the use of North, South, East, West within the buildings).

  - Third Party Vendor acceptance inspections and sign-off steps prior to closing panels to critical equipment must be included.  Panels must be closed, regardless of energization at each shift’s end.

  - Utilize complete and accurate equipment tag numbers as defined in the approved drawings, to include panel names, and circuit numbers, with no short abbreviations of the names.

- Figures/Drawings/Photos: This is where images required for the procedure will be placed. Address photos in the Sequence of Operations (26) with the proper Figure that the image goes with.

  - To place an image, start with a description of what the image is about.

  - Click the image icon .

  - Click from a file and choose the correct image that is to be inserted.

    - Do not resize the image

Notes and Directions to Accompany Required Safety and Controls

- Method of Access/Egress: Identify the access and egress route to the work area. Include any set down areas if required.

- Fall Protection Measures: Identify and List the fall protection Measures.

- Required PPE: Identify the Personnel Protective Equipment required for the work.

- Hazardous Substances: Identify the hazards and attach a copy of the SDS for the chemical.

- Storage Arrangements: Detail the storage arrangements and storage areas.

- Details of Permits to Work: Identify any In-House Permits i.e. permit to dig, confined space permits, lock-out tag-out etc.

- Emergency Procedures: Standard Information. Follow guidelines in procedure.

- First Aider: Identify the First aider on site and include their contact details.

- First Aid Box Location: Identify the location of the first aid box, ensure it is to hand. They are strategically placed throughout the facility for quick access. First Aid kits can be utilized by any personnel on-site if needed.

- Hospital: Identify the location of the nearest hospital and include their contact details.

- Welfare Requirements: Identify the welfare arrangement on site. Welfare is a term covering facilities and services necessary for personnel working at the site or on the specific task. Site welfare examples, toilet access, washing facilities, changing room, drinking water, canteen etc.

- Services to be supplied by Others: Detail any services being supplied by others. Consider if the site has the required hygiene facilities and access to water or food as necessary. Also, consider whether other arrangements need to be put in place by the Contractor. On an established/finished building where you require the use of their facilities, ensure this is requested, confirmed and permission has been granted.

- Other Information & Comments: Detail any information that is relevant to safety.

- Briefing delivered by:  Individual providing the job briefing.

- Position:  Position of briefer.

- Date:  Date job briefing was given.

- Acceptance List:  Names and signatures of individuals briefed including dates, agreeing to comply with the MSOW.

Notes and Directions to Accompany Risk Assessment

- Date: Insert date that risk assessment form is completed.

- Assessed by: Insert the name and signature of the assessor.

- Checked by:  Insert the name and signature of someone in a position to check that the risk assessment has been carried out by a competent person who can identify hazards and assess risk, and that the control measures are reasonable and in place. (For example, a Safety Officer or person with EHS Hazard ID/Risk Assessment Training or specific task training.)

- Location: Insert details of the exact location where work activities are taking place, i.e. building, floor, room etc.

- Task: Insert a brief summary of the task.

- Equipment / Substances: Insert a brief summary of Equipment/Substances required for this task

- Hazard: For each activity, list the hazards.  Remember to look at hazards that are not immediately obvious. The same activity might as well have several hazards associated with it.

- Persons at Risk: List everyone who might be affected by the activity and specify groups particularly at risk.  Remember those who are not immediately involved in the work.

- Existing Risk Control Measures in place:   List all measures currently in place that mitigate the risk.

- Risk Rating: The simplest form of risk assessment is to rate the remaining risk as high, medium or low, depending on how likely the activity is to cause harm and how serious that harm might be.

RISK RATING MATRIX:

|  | LIKELIHOOD |  | SEVERITY |
| --- | --- | --- | --- |
| 1 | Low Controls in place to ensure the task/activity is safe and the environment is protected | 1 | Low Risk / No Impact Minor discomfort/impact or insignificant consequence |
| 2 | Low / Medium Some additional measures may be required to make the task/activity safe and protect the environment | 2 | Low / Medium Risk/ Impact First aid /Hospital day case or minimal environmental consequence. |
| 3 | Medium Additional controls are necessary to make the task/activity safe and protect the environment. | 3 | Medium Risk / Impact Badly harmed (incapacitated for notifiable period) or moderate environmental consequence. Moderate 3rd party interest / enforceable standard |
| 4 | Medium / High Formal and documented controls are required to protect individuals and the environment. | 4 | Medium / High Risk / Impact Severely harmed/Maimed (Paralysis/Blinded/Badly burned/Loss of limbs etc.). Uncontrolled environmental release/significant 3rd party interest/risk of prosecution. |
| 5 | High Formal and documented controls are required to protect individuals and the environment. Further action is necessary to mitigate unacceptable risk/impact. | 5 | High Risk / Impact Death or chronic illness (i.e. Electrocution / Dangerous Occurrence) Severe/Chronic/large quantity environmental release/ 3rd party instruction/ High risk of prosecution. |

For each hazard identified in the Datacenter Operations, we can use the table to select a number representative of the LIKELYHOOD that the Hazard / Aspect may cause harm (1-5), also selecting a number representative of the SEVERITY of that harm / impact (1-5). We then simply multiply the LIKELYHOOD and the SEVERITY values together to obtain the RISK LEVEL.

RISK LEVEL MATRIX:

| SEVERITY |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 5 | 5 | 10 | 15 | 20 | 25 |
| 4 | 4 | 8 | 12 | 16 | 20 |
| 3 | 3 | 6 | 9 | 12 | 15 |
| 2 | 2 | 4 | 6 | 8 | 10 |
| 1 | 1 | 2 | 3 | 4 | 5 |
|  | 1 | 2 | 3 | 4 | 5 |
|  |  |  |  |  | LIKELIHOOD |

LIKELIHOOD X SEVERITY

The risk is LOW (1-6) - if it is most unlikely that harm would arise under the controlled conditions listed, and even if exposure occurred, the injury would be relatively slight.

The risk is MEDIUM (8-16) -  if it is more likely that harm might actually occur and the outcome could be more serious (e.g. some time off work, or a minor physical injury.)

The risk is HIGH (20-25) - if injury is likely to arise (e.g. there have been previous incidents, the situation looks like an accident waiting to happen) and that injury might be serious (broken bones, trip to the hospital, loss of consciousness), or even a fatality.

- Further Control Measures Required: List all measures that need to be taken to mitigate the risk. Some specific hazards may require detailed assessments in accordance with specific legislation e.g. Barrier, locks and tags, warning signage, gas meters etc.

- Residual Risk Rating: This is the risk remaining after all control measures have been implemented. The score remaining can be applied to the same table in the risk rating.